## Reference Equipment
FacilityID | UnitID | SystemID | Equipment Type | REF Equipment ID | Equipment Name | Manufacturer | Model | TechnicalParameters | SafetyClass | Operating Status | Operating Status Date | Equipment Revision | Equipment Revision Status | Equipment Revision Status Date | Equipment Status | Equipment Status Date
900 | 900 | RCS | Pump | REF-RCP-900 | Reference Reactor Coolant Pump 900MW | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2005-08-31 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31
900 | 900 | RCS | Pump | REF-RCP-900 | Reference Reactor Coolant Pump 900MW | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2010-07-18 | 001 | REVISED | 2010-07-18 | ACTIVE | 2010-07-18
900 | 900 | RCS | Pump | REF-RCP-900 | Reference Reactor Coolant Pump 900MW | KSB | RSR | FlowRate:2800 gpm; Power:18 MW | Class 1 | Operational | 2025-01-26 | 002 | ACTIVE | 2025-01-26 | ACTIVE | 2025-01-26
900 | 900 | SS | Heat Exchanger | REF-CND-900 | Reference Condenser 900MW | Combustion Engineering | COND-900 | CoolingCapacity:700 MW; SurfaceArea:1000 m2 | Class 3 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16
900 | 900 | SS | Heat Exchanger | REF-CND-900 | Reference Condenser 900MW | Combustion Engineering | COND-900 | CoolingCapacity:700 MW; SurfaceArea:1000 m2 | Class 2 | Operational | 2025-08-25 | 001 | ISSUED | 2025-08-25 | ACTIVE | 2025-08-25
900 | 900 | SS | Heat Exchanger | REF-SG-900 | Reference Steam Generator 900MW | Westinghouse | SG-900 | HeatTransfer:500 MW; Volume: 150 m3 | Class 1 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31
900 | 900 | TS | Pressure Vessel | REF-PRZ-900 | Reference Pressurizer | ElectricBoat | PRZ-2K | Volume: 50 m3; PressureLimit:2250 psi | Class 1 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31
900 | 900 | FW | Pump | REF-FWP-900 | Reference Main Feedwater Pump | Allis-Chalmers Ltd. | MFWP-450 | FlowRate:500 gpm; Power:5 MW | Class 2 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31
900 | 900 | TS | Turbine | REF-TG-900 | Reference Turbine Generator | General Electric | TG-900 | Output:1000 MW; Speed:3000 rpm | Class 2 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31

## SiteEquipment
FacilityID | UnitID | SystemID | Equipment Type | Equipment ID | Equipment Name | Manufacturer | Model | TechnicalParameters | SafetyClass | Operating Status | Operating Status Date | Equipment Revision | Equipoment Revision Status | EquipmentRevision Status Date | Equipment Status | Equipment Status Date | REF Equipment ID
FCA | 01 | RCS | Pump | RCP-A-011 | Reactor Coolant Pump Alpha-11 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 01 | RCS | Pump | RCP-A-012 | Reactor Coolant Pump Alpha-12 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 01 | RCS | Pump | RCP-A-013 | Reactor Coolant Pump Alpha-13 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 01 | RCS | Pump | RCP-A-014 | Reactor Coolant Pump Alpha-14 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 01 | SS | Heat Exchanger | SG-A-01 | Steam Generator Alpha-1 | Westinghouse | SG-900 | HeatTransfer:500 MW; Volume: 150 m3 | Class 1 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-SG-900
FCA | 01 | TS | Pressure Vessel | PRZ-A-01 | Pressurizer Alpha-1 | ElectricBoat | PRZ-2K | Volume: 50 m3; PressureLimit:2250 psi | Class 1 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-PRZ-900
FCA | 01 | FW | Pump | FWP-A-01 | Main Feedwater Pump Alpha-1 | Allis-Chalmers Ltd. | MFWP-450 | FlowRate:500 gpm; Power:5 MW | Class 2 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-FWP-900
FCA | 01 | TS | Turbine | TG-A-01 | Turbine Generator Alpha-1 | General Electric | TG-900 | Output:1000 MW; Speed:3000 rpm | Class 2 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-TG-900
FCA | 01 | SS | Heat Exchanger | CND-A-01 | Condenser Alpha-1 | Combustion Engineering | COND-900 | CoolingCapacity:800 MW; SurfaceArea:1000 m2 | Class 3 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-CND-900
FCA | 02 | RCS | Pump | RCP-A-021 | Reactor Coolant Pump Alpha-21 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-022 | Reactor Coolant Pump Alpha-22 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-023 | Reactor Coolant Pump Alpha-23 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-024 | Reactor Coolant Pump Alpha-24 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 000 | REVISED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-RCP-900
FCA | 02 | SS | Heat Exchanger | SG-A-02 | Steam Generator Alpha-2 | Westinghouse | SG-900 | HeatTransfer:500 MW; Volume: 150 m3 | Class 1 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-SG-900
FCA | 02 | TS | Pressure Vessel | PRZ-A-02 | Pressurizer Alpha-2 | ElectricBoat Ltd. | PRZ-2K | Volume: 50 m3; PressureLimit:2250 psi | Class 1 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-PRZ-900
FCA | 02 | FW | Pump | FWP-A-02 | Main Feedwater Pump Alpha-2 | Allis-Chalmers Ltd. | MFWP-450 | FlowRate:500 gpm; Power:5 MW | Class 2 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-FWP-900
FCA | 02 | TS | Turbine | TG-A-02 | Turbine Generator Alpha-2 | General Electric | TG-900 | Output:900 MW; Speed:3000 rpm | Class 2 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-TG-900
FCA | 02 | SS | Heat Exchanger | CND-A-02 | Condenser Alpha-2 | Combustion Engineering | COND-900 | CoolingCapacity:800 MW; SurfaceArea:1000 m-98 | Class 3 | Operational | 2024-10-25 | 000 | ISSUED | 2005-08-31 | ACTIVE | 2005-08-31 | REF-CND-900
FCB | 01 | RCS | Pump | RCP-B-011 | Reactor Coolant Pump Beta-11 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 01 | RCS | Pump | RCP-B-012 | Reactor Coolant Pump Beta-12 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 01 | RCS | Pump | RCP-B-013 | Reactor Coolant Pump Beta-13 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 01 | RCS | Pump | RCP-B-014 | Reactor Coolant Pump Beta-14 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 01 | SS | Heat Exchanger | SG-B-01 | Steam Generator Beta-1 | Westinghouse | SG-900 | HeatTransfer:500 MW; Volume: 150 m3 | Class 1 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-SG-900
FCB | 01 | SS | Pressure Vessel | PRZ-B-01 | Pressurizer Beta-1 | ElectricBoat Ltd. | PRZ-2K | Volume: 150 m3; PressureLimit:2250 psi | Class 1 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-PRZ-900
FCB | 01 | FW | Pump | FWP-B-01 | Main Feedwater Pump Beta-1 | Allis-Chalmers Ltd. | MFWP-450 | FlowRate:500 gpm; Power:5 MW | Class 2 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-FWP-900
FCB | 01 | TS | Turbine | TG-B-01 | Turbine Generator Beta-1 | General Electric | TG-900 | Output:900 MW; Speed:2900 rpm | Class 2 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-TG-900
FCB | 01 | SS | Heat Exchanger | CND-B-01 | Condenser Beta-1 | Combustion Engineering | COND-900 | CoolingCapacity:800 MW; SurfaceArea:1000 m2 | Class 3 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-CND-900
FCB | 02 | RCS | Pump | RCP-B-021 | Reactor Coolant Pump Beta-21 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 02 | RCS | Pump | RCP-B-022 | Reactor Coolant Pump Beta-22 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 02 | RCS | Pump | RCP-B-023 | Reactor Coolant Pump Beta-23 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 02 | RCS | Pump | RCP-B-024 | Reactor Coolant Pump Beta-24 | Westinghouse | RCP-900 | FlowRate:2000 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 000 | REVISED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-RCP-900
FCB | 02 | SS | Heat Exchanger | SG-B-02 | Steam Generator Beta-2 | Westinghouse | SG-900 | HeatTransfer:500 MW; Volume: 150 m103 | Class 1 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-SG-900
FCB | 02 | RCS | Pressure Vessel | PRZ-B-02 | Pressurizer Beta-2 | ElectricBoat | PRZ-2K | Volume: 50 m3; PressureLimit:2250 psi | Class 1 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-PRZ-900
FCB | 02 | FW | Pump | FWP-B-02 | Main Feedwater Pump Beta-2 | Allis-Chalmers Ltd. | MFWP-450 | FlowRate:500 gpm; Power:5 MW | Class 2 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-FWP-900
FCB | 02 | TS | Turbine | TG-B-02 | Turbine Generator Beta-2 | General Electric | TG-900 | Output:900 MW; Speed:3000 rpm | Class 2 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-TG-900
FCB | 02 | SS | Heat Exchanger | CND-B-02 | Condenser Beta-2 | Combustion Engineering | COND-900 | CoolingCapacity:700 MW; SurfaceArea:1000 m2 | Class 3 | Operational | 2025-01-22 | 000 | ISSUED | 2008-03-16 | ACTIVE | 2008-03-16 | REF-CND-900
FCA | 01 | RCS | Pump | RCP-A-011 | Reactor Coolant Pump Alpha-11 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | ISSUED | 2010-09-01 | ACTIVE | 2010-09-01 | REF-RCP-900
FCA | 01 | RCS | Pump | RCP-A-012 | Reactor Coolant Pump Alpha-12 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | ISSUED | 2010-09-01 | ACTIVE | 2010-09-01 | REF-RCP-900
FCA | 01 | RCS | Pump | RCP-A-013 | Reactor Coolant Pump Alpha-13 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | ISSUED | 2010-09-01 | ACTIVE | 2010-09-01 | REF-RCP-900
FCA | 01 | RCS | Pump | RCP-A-014 | Reactor Coolant Pump Alpha-14 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | ISSUED | 2010-09-01 | ACTIVE | 2010-09-01 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-021 | Reactor Coolant Pump Alpha-21 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | REVISED | 2010-09-12 | ACTIVE | 2010-09-12 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-022 | Reactor Coolant Pump Alpha-22 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | REVISED | 2010-09-12 | ACTIVE | 2010-09-12 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-023 | Reactor Coolant Pump Alpha-23 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | REVISED | 2010-09-12 | ACTIVE | 2010-09-12 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-024 | Reactor Coolant Pump Alpha-24 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2024-10-25 | 001 | ISSUED | 2010-09-12 | ACTIVE | 2010-09-12 | REF-RCP-900
FCB | 01 | RCS | Pump | RCP-B-011 | Reactor Coolant Pump Beta-11 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCB | 01 | RCS | Pump | RCP-B-012 | Reactor Coolant Pump Beta-12 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCB | 01 | RCS | Pump | RCP-B-013 | Reactor Coolant Pump Beta-13 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCB | 01 | RCS | Pump | RCP-B-014 | Reactor Coolant Pump Beta-14 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCB | 02 | RCS | Pump | RCP-B-021 | Reactor Coolant Pump Beta-21 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCB | 02 | RCS | Pump | RCP-B-022 | Reactor Coolant Pump Beta-22 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCB | 02 | RCS | Pump | RCP-B-023 | Reactor Coolant Pump Beta-23 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCB | 02 | RCS | Pump | RCP-B-024 | Reactor Coolant Pump Beta-24 | Westinghouse | RCP-900 | FlowRate:2100 gpm; Power:10 MW | Class 1 | Operational | 2025-01-22 | 001 | ISSUED | 2011-03-15 | ACTIVE | 2011-03-15 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-023 | Reactor Coolant Pump Alpha-23 | KSB | RSR | FlowRate:2800 gpm; Power:18 MW | Class 1 | Operational | 2024-10-25 | 002 | ISSUED | 2019-04-28 | ACTIVE | 2019-04-28 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-021 | Reactor Coolant Pump Alpha-21 | KSB | RSR | FlowRate:2800 gpm; Power:18 MW | Class 1 | Operational | 2024-10-25 | 002 | ISSUED | 2019-11-28 | ACTIVE | 2019-11-28 | REF-RCP-900
FCA | 02 | RCS | Pump | RCP-A-022 | Reactor Coolant Pump Alpha-22 | KSB | RSR | FlowRate:2800 gpm; Power:18 MW | Class 1 | Operational | 2024-10-25 | 002 | ISSUED | 2019-11-28 | ACTIVE | 2019-11-28 | REF-RCP-900

## EngineeringChanges
EC ID | AffectedEquipIDs | EC Status | DateProposed | DateReviewed | DateImplemented | Base Revision | Equipment Revision | EC Type | EC Title | Engineer
001 | RCP-A-011; RCP-A-012; RCP-A-013; RCP-A-014; RCP-A-021; RCP-A-022; RCP-A-023; RCP-A-024; RCP-B-011; RCP-B-012; RCP-B-013; RCP-B-014; RCP-B-021; RCP-B-022; RCP-B-023; RCP-B-024 | REGISTERED | 2010-07-18 |  |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Bob
001 | RCP-A-011 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-011 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-01 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-A-012 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-012 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-01 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-A-013 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-013 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-01 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-A-014 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-014 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-01 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-A-021 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-021 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-12 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-A-022 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-022 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-12 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-A-023 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-023 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-12 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-A-024 | APPROVED | 2010-07-18 | 2010-08-25 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Alice
001 | RCP-A-024 | CLOSED | 2010-07-18 | 2010-08-25 | 2010-09-12 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Charlie
001 | RCP-B-011 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-011 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
001 | RCP-B-012 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-012 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
001 | RCP-B-013 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-013 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
001 | RCP-B-014 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-014 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
001 | RCP-B-021 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-021 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
001 | RCP-B-022 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-022 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
001 | RCP-B-023 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-023 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
001 | RCP-B-024 | APPROVED | 2010-07-18 | 2011-02-13 |  | 000 | 000A | TechnicalParameters | Adjusted flow rate by +100 gpm | Diana
001 | RCP-B-024 | CLOSED | 2010-07-18 | 2011-02-13 | 2011-03-15 | 000 | 001 | TechnicalParameters | Adjusted flow rate by +100 gpm | Rob
002 | RCP-A-023 | REGISTERED | 2019-04-20 |  |  | 001 | 001A | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Tom
002 | RCP-A-023 | APPROVED | 2019-04-20 | 2019-04-23 |  | 001 | 001A | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Alice
002 | RCP-A-023 | CLOSED | 2019-04-20 | 2019-04-23 | 2019-04-28 | 001 | 002 | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Charlie
003 | RCP-A-021; RCP-A-022; RCP-A-024 | REGISTERED | 2019-05-20 |  |  | 001 | 001A | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Tom
003 | RCP-A-021 | APPROVED | 2019-05-20 | 2019-05-23 |  | 001 | 001A | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Alice
003 | RCP-A-021 | CLOSED | 2019-05-20 | 2019-05-23 | 2019-11-28 | 001 | 002 | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Charlie
003 | RCP-A-022 | APPROVED | 2019-05-20 | 2019-05-23 |  | 001 | 001A | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Alice
003 | RCP-A-022 | CLOSED | 2019-05-20 | 2019-05-23 | 2019-11-28 | 001 | 002 | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Charlie
003 | RCP-A-024 | APPROVED | 2019-05-20 | 2025-05-23 |  | 001 | 001A | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Alice
004 | RCP-B-011; RCP-B-012; RCP-B-013; RCP-B-014; RCP-B-021; RCP-B-022; RCP-B-023; RCP-B-024 | REGISTERED | 2025-01-26 |  |  | 001 | 001A | Equipment Change/Redesign | Replace RCP with KSB RSR Model | Bob
005 | CND-A-01, CND-A-02, CND-A-03, CND-A-04 | REGISTERED | 2025-08-25 |  |  | 000 | 001A | Safety Class | Increase Safety Class 3 to Class 2 | Jamie